Supporting document 2

Chemical guidelines/standards for drinking water (at Approval) – Application A1043

World Health Organization Limits for Packaged Water

# Executive summary

FSANZ has tabulated the various chemical substances and their respective maximum levels in a number of drinking water guidelines and standards. These guidelines or standards include:

- Australia New Zealand Food Standards Code, Standard 2.6.2, Table to clause 2(2).

- WHO Guidelines for Drinking-water Quality, 2011 (WHO guidelines), Table A3.3 Guideline values for chemicals that are of health significance in drinking-water. The chemical limits in these guidelines are also used by the Codex Standard for Bottled/Packaged Waters (other than natural mineral waters) (CODEX STAN 227-2001).

- Codex Standard for Natural Mineral Waters, 2011 (CODEX STAN 108-1981).

- National Health and Medical Research Council (NHMRC), Australian Drinking Water Guidelines, 2011.

- New Zealand Ministry of Health, Drinking-water Standards for New Zealand, 2005/2008.

- Australasian Bottled Water Institute, Model Code.

All maximum levels have been expressed as mg/L. A Chemical Abstract Service registry number (CAS No.) has been provided where appropriate.

| Chemical | CAS No. If applicable | ANZ Food Standards Code Standard 2.6.2 (mg/L) | WHO^ Guidelines for Drinking Water Quality (2011)a (mg/L) | CODEX Standard for Natural Mineral Waters (2011) (mg/L) | NHMRC Australian Drinking Water Guidelines (2011) (mg/L) | NZMOH Drinking-water Standards for New Zealand (2005) (mg/L) | ABWI Model Code (mg/L) |
| --- | --- | --- | --- | --- | --- | --- | --- |
| Standard or Guideline |  | Standard | Guideline | Standards | Guideline | Standard | Guideline |
| Packaged water, natural mineral water of drinking water |  | Packaged water | Drinking water | Natural Mineral Water | Drinking water | Drinking water | Packaged water |
|  | Chemicals in common with the Code |  |  |  |  |  |  |
| Arsenic | 7440-38-2 | 0.05 | 0.01 (A,T) | 0.01 (total As) | 0.01 | 0.01g | 0.05 |
| Barium | 7440-39-3 | 1.0 | 0.7 | 0.7 | 2 | 0.07 | 1.0 |
| Borate/Boron | 7440-42-8 | 30 (as H3BO4) | 2.4 (as Boron) | 5 (as Boron) | 4 (as Boron) | 1.4 |  |
| Cadmium | 7440-43-9 | 0.01 | 0.003 | 0.003 | 0.002 | 0.004 | 0.005 |
| Chromium | 7440-47-3 | 0.04 (as Cr (VI)) | 0.05 (P) (total) | 0.05 (total Cr) | 0.05 (as Cr(VI)) | 0.05 (total) g | 0.05 |
| Copper | 7440-50-8 | 1.0 | 2 | 1 | 2 | 2 | 1.0 |
| Cyanide | 57-12-5 | 0.01 |  | 0.07 | 0.08 | 0.08 |  |
| Fluoride | 16984-48-8 | 2.0 (Naturally occurring) | 1.5* | Labelling for >1 mg/L & >1.5 mg/L | 1.5 | 1.5h | 1.0 |
| Lead | 7439-92-1 | 0.05 | 0.01 (A,T) | 0.01 | 0.01 | 0.01 | 0.005 |
| Manganese | 7439-96-5 | 2.0 |  | 0.4 | 0.5 | 0.4 | 0.05 |
| Mercury | 7439-97-6 | 0.001 | 0.006 (inorganic) | 0.001 | 0.001 | 0.002 | 0.001 |
| Nitrate | 122019-28-7 | 45 | 50 | 50 | 50 | 50i | 10 |
| Nitrite | 14797-65-0 | 0.005 | 3 | 0.1 | 3 | 3 | 1.0 |
| Organic matter | NA | 3.0 (KMnO3 digested as O2) |  |  |  |  |  |
| Selenium | 7782-49-2 | 0.01 | 0.04 (P) | 0.01 | 0.01 | 0.01 | 0.01 |
| Sulphide |  | 0.05 (as H2S) |  |  |  |  |  |
| Zinc | 7440-66-6 | 5.0 |  |  |  |  |  |
|  | Additional chemical analytes |  |  |  |  |  |  |
| Acephate | 30560-19-1 |  |  |  | 0.008 |  |  |
| Acrylamide | 79-06-1 |  | 0.0005 a |  | 0.0002 | 0.0005 |  |
| Alachlor | 15972-60-8 |  | 0.02 a |  |  | 0.02 | 0.002 |
| Aldicarb (sulfoxide & sulfone) | 1646-87-3, 1646-88-4 |  | 0.01 |  | 0.004 | 0.01 |  |
| Aldrin and Dieldrin | 309-00-2 60-57-1 |  | 0.00003 |  | 0.0003 | 0.00004 |  |
| Ametryn | 834-12-8 |  |  |  | 0.07 |  |  |
| Amitraz | 33089-61-1 |  |  |  | 0.009 |  |  |
| Amitrole | 61-82-5 |  |  |  | 0.009 |  |  |
| Anatoxin-a | 64285-06-9 |  |  |  |  | 0.006 g |  |
| Anatoxin-a(s) | 103170-78-1 |  |  |  |  | 0.001 g |  |
| Antimony | 7440-36-0 |  | 0.02 | 0.005 | 0.003 | 0.02 | 0.006 |
| Asulam | 3337-71-1 |  |  |  | 0.07 |  |  |
| Atrazine (and its chloro-s-triazine metabolites, WHO) | 1912-24-9 |  | 0.1 |  | 0.02 | 0.002 | 0.003 |
| Azinphos-methyl | 86-50-0 |  |  |  | 0.03 | 0.004 g |  |
| Benomyl | 17804-35-2 |  |  |  | 0.09 |  |  |
| Bentazone | 25057-89-0 |  |  |  | 0.4 | 0.4 g |  |
| Benzene | 71-43-2 |  | 0.01 a |  | 0.001 | 0.01 | 0.005 |
| Benzo(a)pyrene | 50-32-8 |  | 0.0007 a |  | 0.00001 | 0.0007 | 0.0002 |
| Beryllium | 7440-41-7 |  |  |  | 0.06 | 0.004 g |  |
| Bioresmethrin | 28434-01-7 |  |  |  | 0.1 |  |  |
| Bromacil | 314-40-9 |  |  |  | 0.4 | 0.4 |  |
| Bromate | 7789-38-0 (Na) 7758-01-2 (K) |  | 0.01 a (A,T) |  | 0.02 | 0.01 |  |
| Bromodichloro-methane | 75-27-4 |  | 0.06 a |  |  | 0.06 |  |
| Bromoform | 75-25-2 |  | 0.1 |  |  | 0.1 |  |
| Bromophos-ethyl | 4824-78-6 |  |  |  | 0.01 |  |  |
| Bromoxynil | 1689-84-5 |  |  |  | 0.01 |  |  |
| Captan | 133-06-2 |  |  |  | 0.4 |  |  |
| Carbaryl | 63-25-2 |  |  |  | 0.03 |  |  |
| Carbendazim/ Thiophanate-methyl | 10605-21-7 23564-06-9 |  |  |  | 0.09 |  |  |
| Carbofuran | 1563-66-2 |  | 0.007 |  | 0.01 | 0.008 | 0.04 |
| Carbon tetrachloride | 56-23-5 |  | 0.004 |  | 0.003 | 0.005 | 0.005 |
| Carbophenothion | 786-19-6 |  |  |  | 0.0005 |  |  |
| Carboxin | 5234-68-4 |  |  |  | 0.3 |  |  |
| Carfentrazone-ethyl | 128639-02-1 |  |  |  | 0.1 |  |  |
| Chlorantraniliprole | 500008-45-7 |  |  |  | 6 |  |  |
| Chlorate | 14866-68-3 |  | 0.7 (D) |  |  | 0.8 g |  |
| Chlordane | 57-47-9 also 12789-03-6 |  | 0.0002 |  | 0.002 | 0.0002 | 0.002 |
| Chlorfenvinphos | 470-90-2 |  |  |  | 0.002 |  |  |
| Chlorine | 7782-50-5 |  | 5 (C) |  | 5 (4.1 for chloraminated systems) | 5 | Free <0.1 |
| Chlorine dioxide | 10049-04-4 |  |  |  | 1 |  |  |
| Chlorite | 14998-27-7 |  | 0.7 (D) |  | 0.8 | 0.8 g |  |
| Chloroacetate (as chloroacetic acid) | 79-11-8 |  |  |  | 0.15 |  |  |
| Chlorobenzene | 108-90-7 |  |  |  | 0.3 | 0.3 g |  |
| Chloroform | 67-66-3 |  | 0.3 |  |  | 0.2 |  |
| 2-Chlorophenol | 95-57-8 |  |  |  | 0.3 |  |  |
| Chlorothalonil | 1897-45-6 |  |  |  | 0.05 |  |  |
| Chlorotoluron | 15545-48-9 |  | 0.03 |  |  | 0.04 |  |
| Chloroxuron | 1982-47-4 |  |  |  | 0.01 |  |  |
| Chlorpyrifos | 2921-88-2 |  | 0.03 |  | 0.01 | 0.04 |  |
| Chlorsulfuron | 64902-72-3 |  |  |  | 0.2 |  |  |
| Clopyralid | 1702-17-6 |  |  |  | 2 |  |  |
| Cyanazine | 21725-46-2 |  | 0.0006 |  |  | 0.0007 |  |
| Cyanogen chloride | 506-77-4 |  |  |  | 0.08 | 0.08 (as CN) |  |
| Cyfluthrin & beta-cyfluthrin | 68359-37-5 |  |  |  | 0.05 |  |  |
| Cylindrospermopsin | 143545-90-8 |  |  |  |  | 0.001 g |  |
| Cypermethrin isomers | 52315-07-8 |  |  |  | 0.2 |  |  |
| Cyprodinil | 121552-61-2 |  |  |  | 0.09 |  |  |
| Deltamethrin | 52918-63-5 |  |  |  | 0.04 |  |  |
| 2,4-D (2,4-dichlorophenoxy acetic acid) | 94-75-7 |  | 0.03 b |  | 0.03 | 0.04 | 0.07 |
| 2,4-DB (2,4-dichlorophenoxy butyric acid) | 94-82-6 |  | 0.09 c |  |  | 0.1 |  |
| DDT d and metabolites | 50-29-3, 789-02-6 |  | 0.001 |  | 0.009 | 0.001 |  |
| Diazinon | 333-41-5 |  |  |  | 0.004 | 0.01 g |  |
| Dicamba | 1918-00-9 |  |  |  | 0.1 |  |  |
| Dichlobenil | 1194-65-6 |  |  |  | 0.01 |  |  |
| Di(2-ethylhexyl)adipate | 103-23-1 |  |  |  |  | 0.1 g |  |
| Di(2-ethylhexyl) phthalate | 117-81-7 |  | 0.008 |  | 0.01 | 0.009 | 0.006 |
| Dibromoacetonitrile | 3251-43-5 |  | 0.07 |  |  | 0.08 |  |
| Dibromochloro- methane | 124-48-1 |  | 0.1 |  |  | 0.15 |  |
| 1,2-Dibromo-3-chloropropane | 96-12-8 |  | 0.001 a |  |  | 0.001 | 0.0002 |
| 1,2-Dibromoethane (EDB, ethylene dibromide) | 106-93-4 |  | 0.0004 a (P) |  | 0.001 | 0.0004 g |  |
| Dichloroacetate | 13425-80-4 |  | 0.05 a (D) |  | 0.1 (dichloroacetic acid) | 0.05 (dichloroacetic acid) g |  |
| Dichloroacetonitrile | 3018-12-0 |  | 0.02 (P) |  |  | 0.02 g |  |
| 1,2-Dichlorobenzene, (o-dichlorobenzene) | 95-50-1 |  | 1 (C) |  | 1.5 | 1.5 | 0.6 |
| 1,4-Dichlorobenzene, (p-dichlorobenzene) | 106-46-7 |  | 0.3 (C) |  | 0.04 | 0.4 | 0.075 |
| 1,2-Dichloroethane | 107-06-2 |  | 0.03 a |  | 0.003 | 0.03 | 0.005 |
| 1,1-Dichloroethene | 75-35-4 |  |  |  | 0.03 | 0.03 |  |
| 1,2-Dichloroethene (1,2-dichloroethylene) | 540-59-0 |  | 0.05 |  | 0.06 | 0.06 | 0.075 |
| Dichloromethane (methylene chloride) | 75-09-2 |  | 0.02 |  | 0.004 | 0.02 | 0.005 |
| 2,4-Dichlorophenol | 120-83-2 |  |  |  | 0.2 |  |  |
| 1,2-Dichloropropane (1,2- DCP) | 78-87-5 |  | 0.04 (P) |  |  | 0.05 g | 0.005 |
| 1,3-Dichloropropene | 542-75-6 |  | 0.02 a |  | 0.1 | 0.02 | 0.001 j |
| Dichlorprop / Dichloroprop-P (2,4-DP; 2-(2,4-dichlorophenoxy) propionoic acid)) | 120-36-5 15165-67-0 |  | 0.1 |  | 0.1 | 0.1 |  |
| Dichlorvos | 62-73-7 |  |  |  | 0.005 |  |  |
| Diclofop-methyl | 51338-27-3 |  |  |  | 0.005 |  |  |
| Dicofol | 115-32-2 |  |  |  | 0.004 |  |  |
| Difenzoquat | 49866-87-7 |  |  |  | 0.1 |  |  |
| Diflubenzuron | 35367-38-5 |  |  |  | 0.07 |  |  |
| Dimethoate | 60-51-5 |  | 0.006 |  | 0.007 | 0.008 |  |
| 1,4-Dioxane | 123-91-1 |  | 0.05 a |  |  |  |  |
| Diphenamid | 957-51-7 |  |  |  | 0.3 |  |  |
| Diquat (ion), diquat dibromide | 2764-72-9 85-00-7 |  |  |  | 0.007 | 0.01 g |  |
| Disulfoton | 298-04-4 |  |  |  | 0.004 |  |  |
| Diuron | 330-54-1 |  |  |  | 0.02 | 0.02 g |  |
| 2,2-DPA (Dalapon; 2,2 dichloropropionic acid) | 75-99-0 |  |  |  | 0.5 |  |  |
| EDTA (edetic acid) | 60-00-4 |  | 0.6 |  | 0.25 | 0.7 |  |
| Endosulfan | 115-29-7 |  |  |  | 0.02 | 0.02 g |  |
| Endothal | 145-73-3 |  |  |  | 0.1 |  |  |
| Endrin | 72-20-8 |  | 0.0006 |  |  | 0.001 | 0.0002 |
| Epichlorohydrin | 106-89-8 |  | 0.0004 (P) |  | 0.0005# | 0.0005 g |  |
| EPTC (S-ethyl dipropyl- (thiocarbamate)) | 759-94-4 |  |  |  | 0.3 |  |  |
| Esfenvalerate | 66230-04-4 |  |  |  | 0.03 |  |  |
| Ethion | 563-12-2 |  |  |  | 0.004 |  |  |
| Ethoprophos | 13194-48-1 |  |  |  | 0.001 |  |  |
| Ethylbenzene | 100-41-4 |  | 0.3 (C) |  | 0.3 | 0.3 | 0.7 |
| Etridiazole | 2593-15-9 |  |  |  | 0.1 |  |  |
| Fenamiphos | 22224-92-6 |  |  |  | 0.0005 |  |  |
| Fenarimol | 60168-88-9 |  |  |  | 0.04 |  |  |
| Fenitrothion | 122-14-5 |  |  |  | 0.007 |  |  |
| Fenoprop (Silvex; 2,4,5-TP) | 93-72-1 |  | 0.009 |  | 0.01 | 0.01 | 0.01 j |
| Fensulfothion | 115-90-2 |  |  |  | 0.01 |  |  |
| Fenthion | 55-38-9 |  |  |  | 0.007 |  |  |
| Fenvalerate | 51630-58-1 |  |  |  | 0.06 |  |  |
| Fipronil | 120068-37-3 |  |  |  | 0.0007 |  |  |
| Flamprop-methyl | 52756-25-9 |  |  |  | 0.004 |  |  |
| Fluometuron | 2164-17-2 |  |  |  | 0.07 |  |  |
| Fluoranthene | 206-44-0 |  |  |  |  | 0.004 g |  |
| Flupropanate | 22898-01-7 |  |  |  | 0.009 |  |  |
| Formaldehyde | 50-00-0 |  |  |  | 0.5 | 1 |  |
| Formothion | 2540-82-1 |  |  |  | 0.05 |  |  |
| Fosamine | 59682-52-9 |  |  |  | 0.03 |  |  |
| Glyphosate | 1071-83-6 |  |  |  | 1 |  |  |
| Haloxyfop | 69806-34-4 |  |  |  | 0.001 |  |  |
| Heptachlor | 76-44-8 |  |  |  | 0.0003 | 0.00004 (and its epoxide) g |  |
| Hexachlorobenzene | 118-74-1 |  |  |  |  | 0.0001 g |  |
| Hexachloro- butadiene | 87-68-3 |  | 0.0006 |  | 0.0007 | 0.0007 | 0.001 j |
| Hexaflurate | 17029-22-0 |  |  |  | 0.03 |  |  |
| Hexazinone | 51235-04-2 |  |  |  | 0.4 | 0.4 g |  |
| Homoanatoxin-a | 142926-86-1 |  |  |  |  | 0.002 g |  |
| Hydroxyatrazine | 2163-68-0 |  | 0.2 |  |  |  |  |
| Imazapyr | 81334-34-1 |  |  |  | 9 |  |  |
| Iodide | 149733-88-0 |  |  |  | 0.1 |  |  |
| Iprodione | 36734-19-7 |  |  |  | 0.1 |  |  |
| Isoproturon | 34123-59-6 |  | 0.009 |  |  | 0.01 |  |
| Lindane (ɣ-hexachlorocyclo- hexane) | 58-89-9 |  | 0.002 |  | 0.01 | 0.002 | 0.0002 |
| Lithium | 7439-93-2 |  |  |  |  | 1 g |  |
| Maldison (Malathion) | 121-75-5 |  |  |  | 0.07 | 1 g |  |
| Mancozeb | 8018-01-7 |  |  |  | 0.009 for ETU (ethylene thiourea = degradant) |  |  |
| MCPA e | 94-74-6 |  | 0.002 |  | 0.04 | 0.002 |  |
| MCPB (4-(2-methyl-4-chlorophenoxy) butyric acid) | 94-81-5 |  |  |  |  | 0.03 |  |
| Mecoprop (MCPP) | 7085-19-0 |  | 0.01 |  |  | 0.01 |  |
| Metalaxyl | 57837-19-1 |  |  |  |  | 0.1 g |  |
| Metaldehyde | 108-62-3 |  |  |  | 0.02 |  |  |
| Metham | 137-42-8 |  |  |  | 0.001 for MTIC (methylisothiocyanate = degradant) |  |  |
| Methidathion | 950-37-8 |  |  |  | 0.006 |  |  |
| Methiocarb | 2032-65-7 |  |  |  | 0.007 |  |  |
| Methomyl | 16752-77-5 |  |  |  | 0.02 |  |  |
| Methoxychlor | 72-43-5 |  | 0.02 |  | 0.3 | 0.02 | 0.04 |
| Methyl bromide | 74-83-9 |  |  |  | 0.001 |  |  |
| Metiram | 9006-42-2 |  |  |  | 0.009 for ETU (ethylene thiourea = degradant) |  |  |
| Metolachlor | 51218-45-2 |  | 0.01 |  | 0.3 | 0.01 |  |
| Metribuzin | 21087-64-9 |  |  |  | 0.07 | 0.07 g |  |
| Metsulfuron-methyl | 74223-64-6 |  |  |  | 0.04 |  |  |
| Mevinphos | 7786-34-7 |  |  |  | 0.005 |  |  |
| Microcystin-LR | 101043-37-2 |  | 0.001 (P) microcystin-LR (free plus cell-bound) |  | 0.0013 | 0.001 |  |
| Molinate | 2212-67-1 |  | 0.006 |  | 0.004 | 0.007 |  |
| Molybdenum | 7439-98-7 |  |  |  | 0.05 | 0.07 | 0.001 j |
| Monochloramine | 10599-90-3 |  | 3 |  | 3 | 3 |  |
| Monochloroacetate | 140-18-1 |  | 0.02 |  |  | 0.02 (as the acid) |  |
| Monocrotophos | 6923-22-4 |  |  |  | 0.002 |  |  |
| Napropamide | 15299-99-7 |  |  |  | 0.4 |  |  |
| Nicarbazin | 330-95-0 |  |  |  | 1 |  |  |
| Nickel | 7440-02-0 |  | 0.07 | 0.02 | 0.02 | 0.02 g | 0.1 |
| Nitralin | 4726-14-1 |  |  |  | 0.5 |  |  |
| Nitrilotriacetic acid (NTA) | 139-13-9 |  | 0.2 |  | 0.2 | 0.2 |  |
| Nitrite, long term | 14797-65-0 |  |  |  |  | 0.2 g |  |
| N-Nitrosodimethyl- amine (NDMA) | 62-75-9 |  | 0.0001 |  | 0.0001 |  |  |
| Nodularin | 118399-22-7 |  |  |  |  | 0.001 g |  |
| Norflurazon | 27314-13-2 |  |  |  | 0.05 |  |  |
| Omethoate | 1113-02-6 |  |  |  | 0.001 |  |  |
| Oryzalin | 19044-88-3 |  |  |  | 0.4 | 0.4 g |  |
| Oxadiazon | 19666-30-9 |  |  |  |  | 0.2 g |  |
| Oxamyl | 23135-22-0 |  |  |  | 0.007 |  |  |
| Paraquat | 4685-14-7 |  |  |  | 0.02 |  |  |
| Parathion (ethyl parathion) | 56-38-2 |  |  |  | 0.02 |  |  |
| Parathion-methyl | 298-00-0 |  |  |  | 0.0007 | 0.01 g |  |
| Pebulate | 1114-71-2 |  |  |  | 0.03 |  |  |
| Pendimethalin | 40487-42-1 |  | 0.02 |  | 0.4 | 0.02 |  |
| Pentachlorophenol | 87-86-5 |  | 0.009 a (P) |  | 0.01 | 0.009 g | 0.001 |
| Permethrin | 52645-53-1 |  |  |  | 0.2 | 0.02 g |  |
| 2-Phenylphenol | 90-43-7 |  |  |  |  | 1.4 g |  |
| Picloram | 1918-02-1 |  |  |  | 0.3 | 0.2 g |  |
| Piperonyl butoxide | 51-03-6 |  |  |  | 0.6 |  |  |
| Pirimicarb | 23103-98-2 |  |  |  | 0.007 |  |  |
| Pirimiphos-ethyl | 23505-41-1 |  |  |  | 0.0005 |  |  |
| Pirimiphos-methyl | 29232-93-7 |  |  |  | 0.09 | 0.1 g |  |
| Polihexanide | 27083-27-8 32289-58-0 |  |  |  | 0.7 |  |  |
| Primisulfuron methyl | 86209-51-0 |  |  |  |  | 0.9 g |  |
| Procymidone | 32809-16-8 |  |  |  |  | 0.7 g |  |
| Profenofos | 41198-08-7 |  |  |  | 0.0003 |  |  |
| Propachlor | 1918-16-7 |  |  |  | 0.07 |  |  |
| Propanil | 709-98-8 |  |  |  | 0.7 | 0.02 g |  |
| Propargite | 2312-35-8 |  |  |  | 0.007 |  |  |
| Propazine | 139-40-2 |  |  |  | 0.05 | 0.07 g |  |
| Propiconazole | 60207-90-1 |  |  |  | 0.1 |  |  |
| Propyzamide | 23950-58-5 |  |  |  | 0.07 |  |  |
| Pyrasulfotole | 365400-11-9 |  |  |  | 0.04 |  |  |
| Pyrazophos | 13457-18-6 |  |  |  | 0.02 |  |  |
| Pyridate | 55512-33-9 |  |  |  |  | 0.1 g |  |
| Pyriproxifen | 95737-68-1 |  |  |  |  | 0.4 |  |
| Pyroxsulam | 422556-08-9 |  |  |  | 4 |  |  |
| Quintozene | 82-68-8 |  |  |  | 0.03 |  |  |
| Saxitoxins | 35523-89-8 |  |  |  |  | 0.003 (as Saxitoxin equivalents) |  |
| Silver | 7440-22-4 |  |  |  | 0.1 | 0.1 |  |
| Simazine | 122-34-9 |  | 0.002 |  | 0.02 | 0.002 | 0.004 |
| Sodium dichloroisocyanurate | 2893-78-9 |  | 40 as cyanuric acid |  |  |  |  |
| Sodium fluoroacetate (1080) | 62-74-8 |  |  |  |  | 0.0035 g |  |
| Spirotetramat | 203313-25-1 |  |  |  | 0.2 |  |  |
| Styrene (vinylbenzene) | 100-42-5 |  | 0.02 (C) |  | 0.03 | 0.03 | 0.1 |
| Sulfate | NA |  |  |  | 500 |  |  |
| Sulprofos | 35400-43-2 |  |  |  | 0.01 |  |  |
| 2,4,5-T f | 93-76-5 |  | 0.009 |  | 0.1 | 0.01 |  |
| Temephos | 3383-96-8 |  |  |  | 0.4 |  |  |
| Terbacil | 5902-51-2 |  |  |  | 0.2 | 0.04 g |  |
| Terbufos | 13071-79-9 |  |  |  | 0.0009 |  |  |
| Terbuthylazine | 5915-41-3 |  | 0.007 |  | 0.01 | 0.008 |  |
| Terbutryn | 886-50-0 |  |  |  | 0.4 |  |  |
| Tetrachloroethene (Tetrachloro- ethylene) | 127-18-4 |  | 0.04 |  | 0.05 | 0.05 | 0.005 |
| Tetrachlorvinphos | 22248-79-9 |  |  |  | 0.1 |  |  |
| Thiobencarb | 28249-77-6 |  |  |  | 0.04 |  |  |
| Thiabendazole | 148-79-8 |  |  |  |  | 0.4 g |  |
| Thiometon | 640-15-3 |  |  |  | 0.004 |  |  |
| Thiophanate | 23564-06-9 |  |  |  | 0.005 |  |  |
| Thiram | 137-26-8 |  |  |  | 0.007 |  |  |
| Toltrazuril | 69004-03-1 |  |  |  | 0.004 |  |  |
| Toluene | 108-88-3 |  | 0.7 (C) |  | 0.8 | 0.8 | 1.0 |
| Triadimefon | 43121-43-3 |  |  |  | 0.09 |  |  |
| Tributyltin oxide | 56-35-9 |  |  |  | 0.001 | 0.002 g |  |
| Trichlorfon | 52-68-6 |  |  |  | 0.007 |  |  |
| Trichloroacetate | 76-03-9 |  | 0.2 |  | 0.1 (as trichloroacetic acid) | 0.2 (as trichloroacetic acid) |  |
| Trichloroacet- aldehyde (chloral hydrate) | 302-17-0 |  |  |  | 0.02 | 0.01 g |  |
| Trichlorobenzenes | 12002-48-1 |  |  |  | 0.03 (total) | 0.03 (total) g |  |
| Trichloroethane | 71-55-6 79-00-5 |  |  |  |  | 2 g |  |
| Trichloroethene (trichloroethylene) | 79-01-6 |  | 0.02 (P) |  |  | 0.08 g | 0.001 |
| Trichlorophenol, 2,4,6-(as speciated phenolics) | 25167-82-2 |  | 0.2 a (C) |  | 0.02 | 0.2 | 0.001 |
| Triclopyr | 55335-06-3 |  |  |  | 0.02 | 0.1 g |  |
| Trifluralin | 1582-09-8 |  | 0.02 |  | 0.09 | 0.03 |  |
| Trihalomethanes | See individual entries |  | The sum of the ratio of the concentration of each to its respective guideline value should not exceed 1 |  | 0.25 | The sum of the ratio of the concentration of each to its respective MAV should not exceed 1 | 0.01 |
| Uranium | 7440-61-1 |  | 0.30 (P) |  | 0.0017 | 0.02 g |  |
| Vernolate | 1929-77-7 |  |  |  | 0.04 |  |  |
| Vinyl chloride | 75-01-4 |  | 0.0003 a |  | 0.0003 | 0.0003 | 0.002 |
| Xylene | 1330-20-7 |  | 0.5 (C) |  | 0.6 | 0.6 (total) | 10 |
| Surface active agents |  |  |  | < LOQ |  |  |  |
| Pesticides and PCBs |  |  |  | < LOQ |  |  |  |
| Mineral oil |  |  |  | < LOQ |  |  |  |
| Polynuclear aromatic hydrocarbons |  |  |  | < LOQ |  |  |  |
| Total no. of analytes |  | 17 | 90 | 16 | 212 | 140 | 49 |

Information correct as of 10 May 2012

Notes regarding chemical guidelines/standards for drinking water

Explanatory notes

A = provisional guideline value because calculated guideline value is below the achievable quantification level;

C = concentrations of the substance at or below the health-based guideline value may affect the appearance, taste or odour of the water, leading to consumer complaints;

D = provisional guideline value because disinfection is likely to result in the guideline value being exceeded;

P = provisional guideline value because of uncertainties in the health database;

T = provisional guideline value because calculated guideline value is below the level that can be achieved through practical treatment methods, source protection, etc.

a For substances that are considered carcinogenic, the guideline value is the concentration in drinking water associated with an upper-bound excess lifetime cancer risk of 10-5 (one additional cancer per 100 000 of the population ingesting drinking water containing the substance at the guideline value for 70 years).

b 2,4-Dichlororphenoxyacetic acid.

c 2,4-Dichlorophenoxybutyric acid.

d Dichlorodiphenyltrichloroethane.

e 4-(2-Methyl-4-chlorophenoxy)acetic acid.

f 2,4,5-Trichlorophenoxyacetic acid.

g PMAV: Provisional Maximum Acceptable Value (because it is provisional in the WHO Guidelines (WHO 2004) or WHO has no guideline value but the New Zealand Drinking Water standards have retained a MAV or developed its own).

h For oral health reasons the NZ Ministry of Health recommends that the fluoride content for drinking-water in New Zealand be in the range of 0.7 – 1.0 mg/L. This is not a MAV.

i Short term exposure. The short term exposure MAVs for nitrate and nitrite have been established to protect against methaemoglobin in bottle-fed infants.

j Not strictly part of the ABWI CoP, but a value is included by the testing laboratory (NMI = National Measurement Institute, Australia)

* Fluoride: Volume of water consumed and intake from other sources should be considered when setting national standards.

# The guideline value is below the limit of quantitation. Improved analytical procedures are required for this compound.

^ Chemical limits also used for the Codex Standard for Bottled/Packaged Waters (CODEX STAN 227-2001).

Additional information not shown in table

For the New Zealand Drinking Water Guidelines, MAVs are defined as the maximum acceptable values for inorganic and organic compounds of health significance.

Both the Australian Drinking water Guidelines and the New Zealand Drinking Water Guidelines also contain maximum acceptable values for radiological compounds:

References

World Health Organization’s (WHO) Guidelines for Drinking Water Quality 2011. Annex 3 (Chemical Summary Tables). Table A3.3 Guideline values for chemicals that are of health significance in drinking-water. http://www.who.int/water_sanitation_health/publications/2011/dwq_guidelines/en/

NHMRC, NRMMC (2011) Australian Drinking Water Guidelines Paper 6 National Water Quality Management Strategy. National Health and Medical Research Council, National Resource Management Ministerial Council, Commonwealth of Australia, Canberra.

Ministry of Health. Drinking-water Standards for New Zealand 2005. Wellington: Ministry of Health.

http://www.moh.govt.nz